TECHNICAL SPECIFICATION - Extract

Exterior Joinery
• PVC or lacquered aluminum with thermal break, in teak color or similar, from brands such as Kömmerling, Schüco or equivalent.
• Double glazing with intermediate air chamber.
• Motorized roller blinds in bedrooms.
• Safety glass railings in accordance with regulations.

Flooring
• Porcelain stoneware flooring throughout the property, by Porcelanosa or similar.
• Non-slip matching flooring on terraces.

Interior Joinery
• Reinforced PVC entrance door, smooth and lacquered to match the joinery, equipped with handle, peephole, and security lock.
• Modular wardrobes with hinged or sliding doors depending on the room, smooth, lacquered in light white, with top shelf and hanging rail.
• The living room will feature an automated curtain system.

Kitchen Units and Appliances
• The kitchen will be finished with wall and base units.
• Quartz countertop by Compac, Silestone, or equivalent top-tier brand.
• Undermount single-bowl sink with single-lever tap.

Appliances by Bosch or similar:
• Integrated extractor hood
• Induction hob
• Built-in electric oven and microwave in column
• Refrigerator
• Dishwasher
• Washer/dryer
Integrated appliances available upon request.

Sanitary Ware and Taps
• Bathrooms will be finished with vanity unit or wall-mounted washbasin.
• White vitrified porcelain toilet with concealed cistern, by Porcelanosa or similar.
• Resin shower trays. Chrome single-lever taps. Showers with column and rain head.
• Accessories: mirrors and fixed glass shower screen.

Air Conditioning and DHW
Air conditioning system via heat pump (for cooling and heating), by LG or similar, with ducted distribution and supply/return grilles, including Airzone system or equivalent.

Domestic hot water production through heat pump energy recovery based on aerothermal technology, a fully renewable and clean energy source.

Underfloor Heating
Hydronic, zoned underfloor heating system throughout the property, by Uponor or similar.

Electricity and Telecommunications
• Outdoor waterproof socket and light point on terraces and roof terrace.
• TV and telephone points in living room and bedrooms.
• Video intercom system.
• Home automation system for climate control, lighting, and blinds.

Plumbing
• Main shut-off valve and individual shut-off valves in each wet room.
• Water outlet with tap on ground-floor terraces and solariums.

Garages / Parking
Properties located in blocks H (except H-11), Oe, Ow, and P include a parking space in the basement, as well as an assigned outdoor parking space.
The remaining blocks have numbered outdoor parking spaces. All spaces will include electric vehicle charging points.

Private Development (Communal Areas)
The residential complex features 2 communal swimming pools, a beach-style area, a multi-purpose building for community use, and extensive landscaped gardens with native trees according to the landscaping project.

Swimming pool / Jacuzzi – optional for certain properties.

Completion
The development will be carried out in two phases; construction will begin in September 2026.

Phase 1: construction period of 30 months. Completion March 2029.
Phase 2: construction period of 36 months. Completion September 2029.